LED 4G Flood Light(Stadium Light)

Colour

1224

656	656

173

303

1000W-1200W

(4-in-one)

1000W-1200W

(4-in-one)with hood cover

1224

656

656

656

1224

1224

1224

303

303

303

1500W-1800W(12合1)	1500W-1800W(16合1)	1500W-1800W(24合1)

Dimension

656

656

656

1224

1224

1224

173

173

173

1500W-1800W(12合1)	1500W-1800W(16合1)	1500W-1800W(24合1)

# 1500W-1800W Connecting bracket

∅36

2-∅16,5

16-∅10,5

550

50

377，5

150

16-∅10,5	22

815

515

750

650

150

250

350

450

36

22

∅4,5

∅10,5

377，5

5

Chamfer 4 holes

45

40

150

145

45

150

# 1500W-1800W  Fixed bracket

2-∅10,5

25

558

583

5

656

624

612

16

6

644

∅16,5

∅10,5

100

465,2

120

3145

1500W-1800W Mounting bracket

∅16,5	∅16,5

120

280

|  | FDL-S4-1500W(Three splices) |  |  |  |  |  | FDL-S4-1800W(Three splices) |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 1224*656*173mm |  |  | 1224*656*303mm（with hood cover） |  |  | 1224*656*173mm |  | 1224*656*303mm（with hood cover） |  |  |
|  |  |  |  |  | 30°、60°、90°、120° |  |  |  |  |  | 30°、60°、90°、120° |
|  | 57KG |  | 59KG |  |  | 57KG |  |  |  | 59KG |  |

## B:Mechanical Specifications

| LED Driver | Meanwell/Sosen/Moso |
| --- | --- |
| Housing Processing | Die-casting |
| Material | ADC12 |

C：Environmental Parameters

| Temperature Range Operating | -40℃～50℃ |
| --- | --- |
| Humidity Range Operating | 10％～90% |
| Temperature Range Storage | -40℃～70℃ |
| Humidity Range Storage | 10％～90% |

-/+180

-150

150

-120

120

-90

0

90

1400

2800

-60

4200

60

5600

-30

7000

0

30

°

°

(lx)

40

M = 11 . 5 m

C0/180

36

C90/270

32

28

24

20

16

12

8

4

0

-25

-20

-15

-10

-5

0

5

10

15

20

25

95.7'

47.9'

0.0'

47.9'

95.7'

119.7'	36.47m

95.7'

29.18m

71.8'

21.88m

47.9'

14.59m

23.9'

7.29m

0.0'

0.00m

23.9'

7.29m

47.9'

14.59m

71.8'

21.88m

95.7'

29.18m

119.7'

36.47m

29.18m	14.59m	0.00m	14.59m	29.18m

The installation height:38'(11.5m)

3% 1.186lx 0.1102fc   10% 3.955lx 0.3674fc

5% 1.977lx 0.1837fc   30% 11.86lx 1.102fc

50% 19.77lx 1.837fc

Luminous Intensity Distribution

Distribution Curve of Meridian

Distribution Curve of Meridian

## 7°	°	°

Distribution Curve of Meridian

Distribution Curve of Meridian

Distribution Curve of Meridian

°	°	°

Product

Carton

| Product name | Carton Size | Quantity | G.W |
| --- | --- | --- | --- |
| LED Flood Light | 1285*695*215mm | 1pcs/box | 60.5KG |